## Slide 1
RAS-Funded Project on Creation of Educational
Material-Case Study of Modeling and Control in
Energy-Efficient Buildings
Qianchuan Zhao
zhaoqc@tsinghua.edu.cn
Center for Intelligent and Networked Systems (CFINS)
Department of Automation
Tsinghua University, Beijing 100084, China

## Slide 2: Intention and timetable
Intention
  Develop an online resource center to host case studies of modeling and control in energy-efficient buildings
  Create educational material for researchers to learn popular simulation software in the field
  Help the users to enter this field through test of control and optimization methodologies on some real test beds
Case studies
  Building envelope design for a single-zone welding shop.
  Investigate the value of a north-light roof in lowering building energy consumption.
  Multiple-chiller plant simulation platform.
  Host links to various existing testbeds.
http://cfins.au.tsinghua.edu.cn/sbtc/demo/cases.html

## Slide 3: Case 1-Building envelope design (EnergyPlus)
Design the building envelope for a single-zone welding shop
Control some parameters of the building envelope to achieve low energy consumption.
Building orientation, shape coefficient (the ratio between the external skin surfaces and the inner volume of the building) and window-to-wall ratio are chosen to be controlled to obtain high energy efficiency
Two related tools presented
  An EnergyPlus-integrated building energy estimation tool
  Building envelope optimization tool
N
w
l
Wdoor
Awin
Hdoor
H
α
Case 1

## Slide 4: Case 1 in the website

## Slide 5: Case 2-Investigate the value of a north-light roof (EnergyPlus)
Investigate the value of a traditional north-light roof in lowering building energy consumption
  increased air volume
  Increased heating and cooling loads requirements, leading eventually to higher HVAC energy demands
  Increased heat losses
Three tools presented
  The first tool helps to show the north-light roof is not always good for locations of different climate zones
  The second tool estimates the building energy for user specified roof configuration and location
  The third tool finds an optimized north-light roof shape for a certain user-specified location
Case 2

## Slide 6: Case 2 in the website

## Slide 7: Case 3- Multiple-chiller plant simulation platform(TRNSYS)
A simulation platform is constructed for a typical multiple-chiller plant
This platform can be used for
  Energy performance evaluation of multiple-chiller plant
  Components (AHUs, pumps, valves) performance evaluation
  Chiller sequencing control
  Chilled water supply temperature optimization
Case 3

## Slide 8: Case 3 in the website

## Slide 9: Use of funding
70% budget for three contributing institutes
  KTH,
  Cith University of HK,
  Tsinghua Univ.
30% budget for maintaining the website at Tsinghua University

## Slide 10
Thank you.